## Slide 1: Principle of Eddy Covariance 2. Net ecosystem exchange and the chamber method

## Slide 2: Net ecosystem exchange
Net ecosystem exchange:
NEE is a whole-ecosystem property; it does not isolate contributions of individual plants or foliage layers
NEE is positive if the ecosystem releases CO2 to the atmosphere and negative if it removes CO2 from the atmosphere

## Slide 3: Daytime NEE versus nighttime NEE

## Slide 4: Closed chambers, cropland in Minnesota
Measurement equation
d

## Slide 5: Closed chamber, Great Mountain Forest, Connecticut

## Slide 6: Automatic soil chambers, cropland in Minnesota
Image source: Griffis

## Slide 7: Soil chambers, cropland in Minnesota
Image source: Griffis

## Slide 8: Closed chambers, cropland in Yucheng, Shandong, China

## Slide 9: Floating chamber, Mississippi River, Minnesota
Image source: Griffis

## Slide 10: Tree chamber, Saskatchewan, Canada

## Slide 11: Dynamic chamber
Measurement equation
d
Evaporation chamber

## Slide 12: Dynamic chamber measuring soil flux, Saskatchewan, Canada

## Slide 13: Strengths and weaknesses of flux chambers
Strengths:
  Portable, easy to install and allows spatial replications
  Plot-scale measurement; does not require large and flat fields
  Can work with instruments of low precision and slow time response
Weaknesses:
  Labor intensive
  Cannot measure sensible heat flux
  Impractical for tall ecosystems
  May disturb the measurement environment
  May be biased spatially and temporally