## Slide 1: Mean governing Equations: 4. Experimental Determination of Surface fluxes

## Slide 2: Eddy fluxes

## Slide 3: Measuring eddy fluxes
  Eddy covariance: deployment of fast-responding instruments for sampling the velocity components, the gaseous concentrations and temperature. Fluxes are computed from Reynolds covariances.
  Flux-gradient method: computes the flux using the flux-gradient relationships.
  Bowen ratio method: measurements of the available energy, and air temperature and humidity at two heights are used to determine water vapor and sensible heat flux.
  Modified Bowen ratio method: Similar to the Bowen ratio method but modified for the determination of trace gas flux.
First order closure
parameterization

## Slide 4: The flux-gradient method
  Momentum flux:
  Sensible heat flux:
  Eddy diffusivities:

## Slide 5: The flux-gradient method: an iterative scheme
  Step 1: Assuming neutral stability, obtain initial and from:
  Step 2: Obtain initial heat flux from the flux-gradient relationship for heat.
  Step 3: Obtain updated stability correction function values and .
  Step 4: Calculate updated heat flux and momentum flux.
  Repeat Steps 3 & 4 until a convergence criterion is met.

## Slide 6: The Bowen ratio method
  Bowen ratio:
  Water vapor flux:

## Slide 7: Measuring Bowen ratio
Photo credit: Andy Black

## Slide 8: Measuring Bowen ratio
Photo credit: Andy Black

## Slide 9: Measuring wet- and dry-bulb temperatures
Photo credit: Andy Black

## Slide 10: Measuring net radiation and soil heat flux

## Slide 11: The modified Bowen ratio method
  CO2 flux:

## Slide 12: Sequential sampling of gas gradients

## Slide 13: Times series obtained by sequential sampling of air drawn from two heights above a lake