## Slide 1: Density effects on flux measurements 3. Density effects on flux-gradient relations

## Slide 2: Fick’s law analogy
Fick’s law: molecular flux of a diffusant in a fluid is proportional to its concentration gradient. The proportionality coefficient is the molecular diffusivity
The flux-gradient relationship expresses the turbulent flux similarly, as
if we use the mass density to describe the gas “concentration”, or
if we use the mass mixing ratio to describe the gas concentration

## Slide 3: A thought experiment
At, the enclosure is divided into two separate chambers
At , the divider is removed
The flux gradient relation predicts a downward CO2 flux at if the mass density is used to describe concentration
But this flux is not real; it is a consequence of density effects on the flux-gradient relation
Use of the mass mixing ratio avoids the density effects
Hot plate

## Slide 4: Artificial CO2 flux in a desert environment
The true NEE is zero
But the flux-gradient relation predicts a downward CO2 flux if the mass density is used to describe concentration
With a typical eddy diffusivity of 0.3 m2 s-1, the relation predicts a large (artificial) flux of -0.6 mg CO2 m-2 s-1 or -52 t C ha-1 y-1

## Slide 5: Density corrections on flux-gradient relation (I)
The complete equation:
In this equation, all the gradient quantities are measured in-situ

## Slide 6: Density corrections on flux-gradient relation (II)
If the air samples from two measurement levels are brought to a common temperature

## Slide 7: Density corrections on flux-gradient relation (III)
If the air samples from two measurement levels are brought to a common temperature and water vapor is removed prior to measurement
Water vapor scrubber